## Slide 1: Monitoring Neurological Processes: something you now know how to do
ELE404 Seminar
Naveen Verma

## Slide 2: Big system question: what does this mean?
Electrographic onset
Symptomatic
onset
7 sec

## Slide 3: Why do we care?
Vagus nerve
stimulation
[Cyberonics]
Deep brain
stimulation
Stim. Off
Stim. on
http://www.neuro.jhmi.edu/DBS/cases.htm

## Slide 4: Why do we care
Brain-machine
interface
[Velliste, Nature, May 2008]

## Slide 5: What is the problem?
Physiological processes are hard to decode
Power is constrained
- 10-100μW for implantables, 1-10mW for wearables

## Slide 6: Why is this hard? (I)
1) Need models to relate physiology to chronic sensor signals
[Suffczynski, Neuroscience’04]
Single-photon emission computed tomography (SPECT)
Seizure
onset
EEG

## Slide 7: Why is this hard? (II)
2) Need to handle non-specific and statistical signals
[Hagmann, C. F. et al. Pediatrics 2006;118:2552-2554]
Muscle activity masks seizure
electrograph
Changed electrode
position
Administered muscle relaxant
(pancuronium)

## Slide 8: Why is this hard? (III)
Background activity
[Gotman, EEG & Clinical
Neurophis.’81]
Patient A EEG:
3) Need efficient & systematic way to develop/adapt models
Seizure
Onset
(patient specific waveform)

## Slide 9: Seizure detection system

## Slide 10: It’s all about the signal modeling
Latency (sec)
False
Alarms/Hour
Sensitivity
Patient Number
60
40
20
0
6
4
2
0
1
0.6
0.2
536 hrs of patient tests:
Patient-specific learning
No learning [Wilson’04]
Latency:
• Specific: 6.77 ± 3.0 sec
• Non-sp.: 30.1 ±1 5 sec
Specificity:
• Specific: 0.3 ± 0.7 /hr
• Non-sp.: 2.0 ± 5.3 /hr
Sensitivity:
• Specific: 0.93
• Non-sp.: 0.66
[Shoeb, EMBC’07]

## Slide 11: How does the modeling work?
Two concerns: 1) Viability of constructing models (i.e., data availability, …)
2) Viability of applying models (i.e., computation energy, … )
(B) Generative Approach
(A) Discriminative Approach (e.g., SVM)
Provides actionable inference

## Slide 12: Spike classification
[R. Segev, M. Berry, Nature’04]

## Slide 13: A low-power seizure detection chip
Supply voltage | 1V
I-amp LNA power | 3.5μW
I-amp input impedance | >700MΩ
I-amp noise (input referred, 0.5Hz-100Hz) | 1.3μVrms
I-amp electrode offset tolerance | >1V
I-amp CMRR | >60dB
ADC resolution | 12b
ADC energy per conversion | 250pJ
ADC max. sampling rate | 100kS/s
ADC INL/DNL | 0.68/0.66LSB
ADC SNDR | 65dB
Digital energy per feature-vector | 234nJ
Feature vector computation rate | 0.5Hz
Total energy/feature-vector | 9μJ
Feature Extraction Processor
Inst. Amp.
ADC
2.5mm
2.5mm

## Slide 14: Why should we do all of this locally
 | Wireless EEG | Local feature extraction
Inst. amps | 72 μW | 72 μW
ADCs (12b, 11kS/s) | 3 μW | 3 μW
Digital processing | -- | 2.1 μW
Radio (CC2550) | 1733 μW | 43 μW
Total | 1808 μW | 120 μW
Local feature extraction reduces data-rate by 43x,
total system power by 14x
18 Channels:

## Slide 15: The instrumentation amplifier
Electrode offset (EO)
differential-mode
2) Signal reference, 60Hz
common-mode
1/f noise, shot noise, etc.
differential mode

## Slide 16: Dealing with 1/f noise
Chopper stabilization:

## Slide 17: Dealing with 1/f noise and DC offset
AC coupling passively rejects electrode offset
Electrode signal causes no swing at virtual-ground

## Slide 18: Dealing with offset (con’t)
IOS,CHOP
IOS,CHOP
[Denison, ISSCC’07]

## Slide 19: Noise analysis

## Slide 20: Some measurements
10
-1
10
0
10
1
10
2
10
3
10
-10
10
-9
10
-8
10
-7
10
-6
10
-5
10
-4
10
-3
130nV/√Hz
Frequency (Hz)
V/√Hz
10
-1
10
0
10
1
10
2
10
3
0
10
20
30
40
50
60
70
Frequency (Hz)
Gain (dB)
Output Response
Noise (input referred)
• LNA power: 3.5μW • RIN: 700MΩ
• CMRR: 60dB • Noise: 1.3μVrms (0.5-100Hz)

## Slide 21: EEG recording
Recorded by on-chip instrumentation amp and ADC using commercial Ag/AgCl electrodes
5
10
15
20
0
0
.
5
1
1
.
5
2
2
.
5
3
3
.
5
4
4
.
5
5
x
10
4
FFT of Occipital Recordings
M
a
g
n
i
t
u
d
e
Frequency
(
Hz
)
Eyes Closed
Eyes Open

## Slide 22: EEG classification
System trained to detect relaxed eyes-closed (alpha) state: <2.5sec latency observed

## Slide 23: Summary and conclusions
3) You guys know how to build these systems and analyze these issues
1) Biomedical devices face fundamental issues (noise, power, interfacing to biology, etc.)
4) You should go out and do this!
2) Need to bring together innovations in circuits, materials and algorithms