## Slide 1: Lecture 10: Differential electrode recording
AC response of CS amp
Increasing the gain-BW (through cascading)
Common/differential mode signals
  60Hz, correlated physiology
Differential amplifier
  Common-mode rejection
  Common-mode to differential mode conversion

## Slide 2: Electrode spectra
AP

## Slide 3: Mains coupling
Courtesy F. Yazicioglu
60Hz on EEG

## Slide 4: Physiological common-mode (EMG/EOG)
EEG with EMG interference:
EEG with EOG interference:

## Slide 5: Physiological common-mode (LFP)
[J.D. Rolston]

## Slide 6: Electrode matching
[T. Denison, JSSC’07]
Frequency sweep of
4 PtIr electrodes