## Slide 1: Lecture 2: Signals and computation
Course logistics
Biomedical systems (high-level)
Signals (analog, digital, CT, DT)
Physiological signals
MOSFET characteristics allow us to do computation, improve SNR
  Feedback is a key to robust operation of systems

## Slide 2: Signals
Courtesy Y. Tsividis
CTDA
(rare but might
be beneficial)

## Slide 3: Analog, discrete-time
Switched-Capacitor Circuits:
(actual implementation):

## Slide 4: Digital, continuous-time
Courtesy Y. Tsividis
Quantization error can have wide BW and will alias during sampling
These are high-frequency transitions!

## Slide 5: Nerve cell signaling
Node of Ranvier
Myelin Sheath
Axon
Action Potential:
Cell body

## Slide 6: Action potential
Neuron Model:

## Slide 7: Information in time

## Slide 8: Instrumentation issues
Extracellular recording
Patch-clamp recording

## Slide 9: Spike sorting
[R. Segev, M. Berry, Nature’04]

## Slide 10: Multi-units and local-field potentials
If many neurons couple to the electrode, then their aggregate behavior is recorded.
Spatial resolution:
[A. Schwartz, Neuron’06]
[Berens’02]

## Slide 11: Frequency content of neural signals

## Slide 12: Surface electrodes vs. penetrating
Electrocorticography
(ECoG):
Electroencephalography
(EEG):

## Slide 13: Electrode (transducer)
General Ionic Equations
a)
b)
Ag+Cl-
Cl2
Relevant ionic equations
E.g. Ag/AgCl electrodes:
(oxidation)
(reduction)

## Slide 14: Charge double layer, half-cell potential
No current
Oxidation/reduction leads to a charge double layer and half cell potential
Voltage drop
reference→

## Slide 15: Electrode model
Cd : capacitance of electrode-electrolyte interface
Rd : resistance of electrode-electrolyte interface
Rs : resistance of electrode lead wire
Ecell : cell potential for electrode
Polarizable (no direct current flow, only displacement current through charge double layer)
Non-polarizable (direct current flow through ions and electrons across electrode-electrolyte interface)
In practice, electrodes have both a polarizing and a non-polarizing component

## Slide 16: Electromyograph (EMG)
Motor unit action potential (also involves ion channels)

## Slide 17: Electrocardiogram (ECG)
Pacemaker
Atrial depolarization
Ventricular depolarization
Ventricular repolarization