## Slide 1: Lecture 8: CS Amp and Biology
Small-signal MOSFET model
Using the SS model
MOSFET as a transconductor and voltage amplifier
- transconductor = amplifier with infinite voltage gain
Effect of the biasing point

## Slide 2: Physiological signals
Courtesy F. Yazicioglu
AP

## Slide 3: Electrode (transducer)
General Ionic Equations
a)
b)
Ag+Cl-
Cl2
Relevant ionic equations
E.g. Ag/AgCl electrodes:
(oxidation)
(reduction)

## Slide 4: Charge double layer, half-cell potential
No current
Oxidation/reduction leads to a charge double layer and half cell potential
Voltage drop
reference→

## Slide 5: Electrode model
Cd : capacitance of electrode-electrolyte interface
Rd : resistance of electrode-electrolyte interface
Rs : resistance of electrode lead wire
Ecell : cell potential for electrode
Polarizable (no direct current flow, only displacement current through charge double layer)
Non-polarizable (direct current flow through ions and electrons across electrode-electrolyte interface)
In practice, electrodes have both a polarizing and a non-polarizing component

## Slide 6: Biomarkers
Courtesy F. Yazicioglu

## Slide 7: Bandwidth of physiological signals
EEG: 0.01Hz-200Hz
ECG: 0.5Hz-250Hz
EMG: 20Hz-600Hz
ECoG: 0.1Hz-1kHz
Spikes: 300Hz- 5kHz

## Slide 8: Unity-gain frequency
Weak inversion
(slope ~-1)
Decreasing L
(lower Cgs)