## Slide 1: Lecture 9: CS Amp and Biology II
Electrode model
AC response of CS Amp
  GBW
  Input poles, zero
AC response of CS Amp
- pass-band gain
Increasing the gain-bandwidth

## Slide 2: Electrode Impedances
Cd : capacitance of electrode-electrolyte interface
Rd : resistance of electrode-electrolyte interface
Rs : resistance of electrode lead wire
Ecell : cell potential for electrode
Polarizable (no direct current flow, only displacement current through charge double layer)
Non-polarizable (direct current flow through ions and electrons across electrode-electrolyte interface)
E.g., PtIr (6mm2 surface area)
[T. Denison, JSSC’07]